## Template
Sample Code | Tillage system (choose from list) | Fertilization (choose from list) | Pesticides (choose from list) | PedoClim (choose from list) | pH_w | TOC | Nt | Pav | SA | SI | CL | Mgex | Naex | Caex | Kex | EC | Mean annual temperature (T ºC) (average last 30 years) | Mean annual precipitation (P in mm) (average last 30 years) | mean T in ºC (in the previous 12 months to soil sampling) | total P in mm (in the previous 12 months to soil sampling) | average of lowest T ºC (in the previous 12 months to soil sampling) | average of highest T ºC (in the previous 12 months to soil sampling)
soil1 | 1. Conventional tillage - deep soil inversion (ploughing till a depth of 15-35 cm, typically at 25 cm) | 2. Organic | 7. Combination | 3. Boreal | 7.87 | 19.83 | 2.18 | 91.7 | 22.7 | 65 | 12.3 | 209 | 109 | 3319 | 473 | 0.1 | 11 | 840 | 12.33 | 518.7 | 7.67 | 15.75
soil2 | 3. No tillage - no mixing, no inversion (direct seeding, subsoiler) | 3. Mineral | 2. H = Herbicides | 3. Boreal | 7.34 | 18.09 | 2.02 | 82.3 | 26 | 62.2 | 11.8 | 124 | 81 | 3547 | 305 | 0.08 | 11 | 824 | 12.33 | 518.7 | 7.67 | 15.75
soil3 | 3. No tillage - no mixing, no inversion (direct seeding, subsoiler) | 4. Organic+mineral | 6. B = Biocides | 6. Mediterranean North | 6.72 | 11.33 | 1.38 | 51.8 | 25 | 63.4 | 11.6 | 192 | 52 | 1828 | 269 | 0.1 | 11 | 824 | 12.33 | 518.7 | 7.67 | 15.75

## Soil Methods
Column name | Property | Type | Unit used in Data, in Auxiliary data, and in soil profile and horizons | Type of sample used | Method
SA | Sand content | numeric | [%] | soil sieved < 2 mm | wet sieving and pipette method
SI | Silt content | numeric | [%] | soil sieved < 2 mm | wet sieving and pipette method
CL | Clay content | numeric | [%] | soil sieved < 2 mm | wet sieving and pipette method
pH_w | pH in water | numeric | [adimentional] | soil sieved < 2 mm | 1:5 soil-deionized water ratio and potentiometric determination
EC | Electrical conductivity | numeric | [dS/m] | soil sieved < 2 mm | 1:5 soil-deionized water ratio and conductivity determination
TOC | Total organic C | numeric | [g/kg] | ground soil after sieving <2 mm | Elemental Analyser
Nt | Total N | numeric | [g/kg] | ground soil | Elemental Analyser
Caex | Exchangeable Ca | numeric | [mg/kg] | soil sieved < 2 mm | BaCl2 extraction and ICP-OES determination
Mgex | Exchangeable Mg | numeric | [mg/kg] | soil sieved < 2 mm | BaCl2 extraction and ICP-OES determination
Kex | Exchangeable K | numeric | [mg/kg] | soil sieved < 2 mm | BaCl2 extraction and ICP-OES determination
Naex | Exchangeable Na | numeric | [mg/kg] | soil sieved < 2 mm | BaCl2 extraction and ICP-OES determination
Pav | P available | numeric | [mg/kg] | soil sieved < 2 mm | NaHCO3 extraction (1:20) and ICP-MS

## Hoja1 (hidden)
tillage | fertilization | pesticides | PedoClim (choose from list)
1. Conventional tillage - deep soil inversion (ploughing till a depth of 15-35 cm, typically at 25 cm) | 1. None | 1. None | 1. Atlantic Central
2. Conventional tillage - shallow soil inversion (shallow ploughing/disc harrow down to a depth of less than 10-12 cm) | 2. Organic | 2. H = Herbicides | 2. Atlantic North
3. No tillage - no mixing, no inversion (direct seeding, subsoiler) | 3. Mineral | 6. B = Biocides | 3. Boreal
4. Reduced tillage - deep mixing without inversion (cultivator, spader, rotavader till a depth of 15-35 cm) | 4. Organic+mineral | 7. Combination | 4. Continental
5. Reduced tillage - shallow mixing without inversion (harrow other than disc harrow till a depth of 10-12 cm) |  |  | 5. Lusitanian
6. Mediterranean North
7. Mediterranean South
8. Nemoral
9. Pannonian